## Slide 1
Restricted
“Sparky”
70 in
(1.2 Cal/cm2)
176 F
Onset of 2nd degree burn
11 Cal/cm 2
At 18 in
(Working Distance)
480 VAC
42 in
12 in
Available incident energy and the corresponding working distance or the arc flash PPE category in 130.7(C)(15)(A)(b) or 130.7(C)(15)(B) for the equipment, but not both”
Class 00 500v
Equipment
Limited
Heat?
What in the heck does that Label mean?
Min 11 cal
Restricted
79
Flash Hazard Boundary